## Cover
QA Test Plan Tracker — Modbus → EdgeConnect → OPC UA Server pipeline
Source plan: docs/qa/2026-05-27-modbus-to-opcua-pipeline-qa-plan.md
Branch: claude/m2d4-impl (post-M.2d.4) · Date: 2026-05-27
Summary statistics
Metric | P1 | P2 | P3 | Total
Total cases
Pass
Fail
Blocked
Not Run
N/A
Pass %
By category
Category | Total | Pass | Fail | Blocked | Not Run | Pass %
Functional
Configuration
Performance
Reliability
Recovery
Security
Diagnostics
UX/Wizard
Edge
Defect summary (by severity)
S1 (Blocker) | S2 (Critical) | S3 (Major) | S4 (Minor) | S5 (Trivial) | Total
Execution phases
Phase A — Smoke | P1 cases only (~12 cases). Estimated 2 hours. Catches any blocker before deeper testing.
Phase B — Functional + Configuration | All Functional + Configuration cases. Estimated 1 day.
Phase C — Reliability + Recovery + Performance | Reliability (incl. 8-hour soak), Recovery, Performance. Estimated 1 day.
Phase D — Security + Diagnostics + UX + Edge | Remaining categories. Estimated ½ day.
How to use this tracker
1. Test Cases sheet: pick a row, set the Result column (dropdown: Pass/Fail/Blocked/Not Run/N/A).
2. If Result=Fail, also fill Severity (S1..S5), Defect ID (link to bug tracker), and Notes.
3. Tester column = your name. Date Executed = the date you ran it (YYYY-MM-DD).
4. Pre-conditions and Steps are summaries — the full procedure lives in the QA plan markdown doc.
5. Cover sheet auto-updates as you fill in the Test Cases sheet (Excel formulas reference column C/H/I).
6. Cells use conditional formatting: Pass=green, Fail=red, Blocked=amber, Not Run=grey.
7. Exit gate: 100% P1 pass (no S1/S2 open) + ≥90% P2 pass + all P3 executed.

## Test Cases
TC ID | Category | Priority | Title | Pre-conditions | Steps (summary) | Expected Result | Result | Severity | Defect ID | Tester | Date Executed | Notes
TC-F-001 | Functional | P1 | Add Modbus source via wizard | EdgeConnect + Modbus simulator running | Sources tab → Add → Modbus → fill identity + connection + 3 tags → Save as draft → Config → Validate → Apply | Wizard saves; source appears Running within 5s | Not Run
TC-F-002 | Functional | P1 | Test Connection probe succeeds (valid host) | Modbus simulator running on 127.0.0.1:5020 | Open Modbus source wizard; fill host=127.0.0.1, port=5020, unit=1; click Test Connection | Inline result panel in Connection section, severity=Success, probe ID + elapsed ms shown | Not Run
TC-F-003 | Functional | P1 | Test Connection probe fails (invalid host) | — | Open Modbus source wizard; host=192.0.2.1 (unreachable); click Test Connection | Inline panel, severity=Error, MODBUS.CONNECT_TIMEOUT code + remediation hint | Not Run
TC-F-004 | Functional | P1 | Add OPC UA Server destination | EdgeConnect running | Destinations tab → Add → OPC UA Server → fill endpoint URL + app URI → Security=None → Save → Apply | Destination Running; netstat shows port 4840 listening | Not Run
TC-F-005 | Functional | P1 | Create route wiring source → sink | TC-F-001 + TC-F-004 done | Routes tab → Add → pick source + sink → Save → Apply | Route appears Running, no errors in diagnostics | Not Run
TC-F-006 | Functional | P1 | Tags visible in UaExpert | Pipeline configured per F-001..F-005 | Open UaExpert; add server opc.tcp://localhost:4840/edgeconnect; Security=None; Anonymous; Connect; browse Objects → EdgeConnect → plc → modbus-sim-1 | All 3 tags appear with correct OPC UA datatypes | Not Run
TC-F-007 | Functional | P1 | Tag values update live in UaExpert | TC-F-006 done | Drag tags to Data Access View; observe 60s | Values update at ~scan-rate cadence; no Bad quality; timestamps present | Not Run
TC-F-008 | Functional | P2 | All 4 register classes decode correctly | — | Configure source with tags from Coil, DI, HR, IR classes; wire to OPC UA; subscribe in UaExpert | All 4 tags correct; bools = Boolean datatype (not Int32) | Not Run
TC-F-009 | Functional | P2 | Byte order variations decode correctly | — | Configure tags with AB, ABCD, CDAB, BADC orders; subscribe in UaExpert; cross-check with pymodbus snippet | parts_count = 1,234,567; floats not NaN; values match raw reads | Not Run
TC-F-010 | Functional | P2 | Scale + offset applied to temperature | Simulator running (raw IR:0 = 420) | Add temperature tag with scale=0.1; subscribe in UaExpert | Value shows as 42.0 (NOT 420). Change scale to 1.0 → value becomes 420.0 | Not Run
TC-F-011 | Functional | P2 | String tags decoded | — | Add 'mode' (string16) and 'part_name' (string8); subscribe | mode='AUTO' (possibly padded); part_name='SHAFT-7X'; OPC UA datatype=String | Not Run
TC-F-012 | Functional | P1 | Edit source via pencil icon | modbus-sim-1 exists | Sources tab → pencil → wizard pre-fills → change PollIntervalMs 1000→500 → Save changes | Navigates to source detail; snackbar confirms; UaExpert update frequency doubles | Not Run
TC-F-013 | Functional | P2 | Edit sink via pencil icon | opcua-edge exists | Destinations tab → pencil → change RootFolder → Save changes | UaExpert rebrowse shows new RootFolder name; old tree gone | Not Run
TC-F-014 | Functional | P2 | Edit route via pencil icon | Route exists | Routes tab → pencil → verify InstanceId disabled → Cancel | RouteId disabled with helper text; Cancel discards everything | Not Run
TC-F-015 | Functional | P1 | Disable source stops data flow | Pipeline running | Sources tab → Disable on modbus-sim-1 → confirm | Within 2s: State=Stopped; UaExpert tag quality goes BadNoCommunication/Uncertain | Not Run
TC-F-016 | Functional | P1 | Re-enable source resumes flow | TC-F-015 done | Click Enable on the row | Within 5s: State=Running; UaExpert tags resume updating | Not Run
TC-F-017 | Functional | P2 | Fanout to multiple sinks | Mosquitto running on localhost:1883 | Add MQTT sink; edit route → add MQTT to sinks (multi-select) → Apply; subscribe via UaExpert AND mosquitto_sub | Both subscribers receive independently; killing one doesn't affect the other | Not Run
TC-F-018 | Functional | P2 | Validation banner shows errors before save | — | Open any wizard; clear InstanceId; observe banner above sections | WizardValidationBanner appears, severity=Error, lists missing field | Not Run
TC-F-019 | Functional | P2 | Validation banner scroll-to-field | — | Open wizard with errors; scroll past Section 4; click a message in banner | Page smoothly scrolls to referenced field; field gains focus | Not Run
TC-F-020 | Functional | P2 | StaleEditWarningBanner on concurrent edit | Two browser tabs | Both tabs at /destinations/opcua-edge/edit. Tab 1: change field + Save. Tab 2: change different field + Save | Tab 1 succeeds; Tab 2 shows StaleEditWarningBanner with versions + formatted timestamp + Reload | Not Run
TC-C-001 | Configuration | P1 | Draft → Validate → Apply → Rollback cycle | — | Save 3 separate drafts; Validate+Apply each; click Rollback on second-most-recent | Each Apply increments version id; Rollback creates draft; applying it reverts state | Not Run
TC-C-002 | Configuration | P2 | Apply rejects invalid config | — | Craft draft with invalid value (e.g. BrokerPort=99999); click Validate | Validation fails with clear field+constraint message; Apply stays disabled | Not Run
TC-C-003 | Configuration | P2 | Configuration history | ≥5 applies done | Config → History tab | All versions listed with timestamps, version ids, actor names; each clickable to view contents | Not Run
TC-C-004 | Configuration | P2 | Backup export | Pipeline configured | Config → Export backup → download | Archive contains gateway.json + history; NO plaintext secrets/passwords | Not Run
TC-C-005 | Configuration | P2 | Backup restore | Backup from TC-C-004 exists | Delete sources/sinks; restore from backup | Original config reproduced bit-for-bit (modulo timestamps); data flow resumes | Not Run
TC-C-006 | Configuration | P3 | Filter rules drop expected tags | Route with filter that excludes parts_count | Apply route; subscribe in UaExpert | All other tags update; parts_count does not appear or never updates | Not Run
TC-C-007 | Configuration | P3 | Transform deadband suppresses small changes | Deadband threshold=5 on spindle_load | Apply route; observe in UaExpert | Small fluctuations (<5) suppressed; large jumps (≥5) propagate | Not Run
TC-P-001 | Performance | P1 | Baseline 10 tags @ 1s scan rate | 10-tag source + 1 sink + 1 UaExpert subscriber | Run 1 hour; capture CPU/RAM/poll counts every 5min | CPU<5%; RAM growth<50MB; drop rate=0 | Not Run
TC-P-002 | Performance | P2 | 50 tags @ 500ms scan rate | 50-tag source | Run 1 hour; same metrics as P-001 | CPU<20%; RAM growth<200MB; drop rate=0; all 50 tags update | Not Run
TC-P-003 | Performance | P2 | Multiple OPC UA clients | 5 UaExpert instances | Each subscribes to all 10 tags; 30 min | All 5 receive identical streams; no Bad codes; CPU stable | Not Run
TC-P-004 | Performance | P3 | OPC UA Read latency | — | UaExpert Read on single tag x50; compute average + p99 | Average<50ms over loopback; p99<200ms | Not Run
TC-P-005 | Performance | P3 | Subscription notification latency | Sentinel write tooling | Time from simulator write → UaExpert receive; p99 calc | p99<2×scan interval | Not Run
TC-R-001 | Reliability | P1 | Modbus simulator killed mid-stream | Pipeline running | Kill Python sim process; observe 60s; restart sim | Within 10s: source Faulted/Reconnecting; UaExpert qual drops; within 5s of restart: Running again | Not Run
TC-R-002 | Reliability | P2 | OPC UA Server restart preserves NodeId stability | — | Note NodeId in UaExpert; disable sink → drained → re-enable; note NodeId again | NodeId identical before/after; programmatic pin would survive | Not Run
TC-R-003 | Reliability | P1 | EdgeConnect service restart preserves data | — | Stop EdgeConnect; restart; UaExpert auto-reconnects | Config preserved; flow resumes within 30s; no buffered-data loss for SAF sinks | Not Run
TC-R-004 | Reliability | P2 | Network partition with store-and-forward (MQTT route) | MQTT sink wired alongside OPC UA | Stop Mosquitto; let buffer grow 5min; restart Mosquitto | OPC UA unaffected; MQTT sink Buffering; buffer drains in order on restart | Not Run
TC-R-005 | Reliability | P2 | 8-hour soak test | 30 tags @ 500ms | Run continuously 8h; hourly metrics | No crashes; RAM plateau within 2h; no monotonic growth; updates remain timely | Not Run
TC-R-006 | Reliability | P3 | 24-hour soak (extended) | Same as R-005 | Run 24h; document any memory step-changes | Same as R-005 over 24h window | Not Run
TC-R-007 | Reliability | P3 | Concurrent edits from two browsers | — | Covered in TC-F-020; verified here for absence of crash/corruption | No data corruption, no crash; same outcome as F-020 | Not Run
TC-RC-001 | Recovery | P1 | Source faulted → disable → re-enable | — | Configure source with wrong port; goes Faulted; Disable; Edit→fix port; Enable | Transitions Stopped→Starting→Running; UaExpert updates resume | Not Run
TC-RC-002 | Recovery | P2 | Drain state during disable | Slow sink or saturated route | Disable mid-publishing | Sink shows Draining; Action button disabled with tooltip; eventually Stopped | Not Run
TC-RC-003 | Recovery | P2 | Apply with invalid config preserves previous | — | Craft broken draft; attempt Apply | Apply fails with diagnostic; running config unchanged; pipeline keeps flowing | Not Run
TC-RC-004 | Recovery | P3 | Service kill during apply | — | Force-kill EdgeConnect during apply window | Restart picks previous OR new (never mixed); history shows clear outcome | Not Run
TC-RC-005 | Recovery | P3 | Disk full during draft save | Buffer volume near 100% | Attempt draft save | Save fails with clear error; existing buffered data preserved | Not Run
TC-S-001 | Security | P1 | OPC UA Security None + Anonymous | Covered by TC-F-006 | Re-execute F-006 with security None + anonymous | Connects and serves tags | Not Run
TC-S-002 | Security | P2 | OPC UA Sign mode shows runtime warning | — | OpcUa wizard → SecurityMode=Sign → Save → Apply | Wizard shows release-prerequisite Warning; on apply OPCUA.SECURITY_NOT_YET_IMPLEMENTED logged | Not Run
TC-S-003 | Security | P3 | UaExpert rejects Sign mode (when Milestone K lands) | Milestone K — deferred | Deferred | Deferred — execute when Milestone K runtime enforcement ships | Not Run
TC-S-004 | Security | P2 | Studio basic auth | Auth.Mode=Basic + creds configured | Restart EdgeConnect; open Studio | Browser prompts; wrong creds=401; right creds=Studio loads; APIs require auth | Not Run
TC-S-005 | Security | P3 | License module gating | License missing modbus-tcp module | Apply license; restart; attempt to add Modbus source | Picker hides protocol OR save fails clearly; existing sources keep running; config changes blocked | Not Run
TC-S-006 | Security | P2 | Secrets not exposed in backup | MQTT sink with username/password | Export backup; inspect archive | password field redacted or omitted; no plaintext creds anywhere | Not Run
TC-D-001 | Diagnostics | P1 | Source state transitions visible | — | Stop and start simulator; watch Sources tab Status column | Observed: Running→Faulted/Reconnecting→Running; transitions in detail event log | Not Run
TC-D-002 | Diagnostics | P2 | Diagnostic events logged | — | Diagnostics tab → filter by source | CONNECT, DISCONNECT, FAULT, RECOVER events with timestamp + code + severity | Not Run
TC-D-003 | Diagnostics | P2 | Prometheus metrics endpoint | — | curl http://127.0.0.1:5080/metrics (or actual port) | Standard Prometheus format; source/sink/buffer/error counters present | Not Run
TC-D-004 | Diagnostics | P3 | Commissioning checklist | — | Navigate to Commissioning tab | Each check ✓/✗; identity, license, ≥1 source/sink/route, etc. | Not Run
TC-D-005 | Diagnostics | P3 | Route ingest/egress counters | — | Routes tab → click into route detail | Counters increment as data flows; reset on apply/restart per design | Not Run
TC-U-001 | UX/Wizard | P2 | All 5 protocol wizards render with WizardShell | — | Open each: focas2, brother-http, modbus, mqtt, opcua | Header band + numbered sections + footer Cancel/Save (+ Test Connection where applicable) | Not Run
TC-U-002 | UX/Wizard | P3 | Save button copy | — | Open each wizard Add and Edit | Add='Save as draft'; Edit='Save changes' | Not Run
TC-U-003 | UX/Wizard | P2 | Edit mode disables InstanceId | Existing entities | Enter edit mode via pencil | InstanceId disabled with immutability helper text | Not Run
TC-U-004 | UX/Wizard | P3 | Test Connection button hidden for OpcUa Server | — | Open OPC UA Server wizard | Footer = Cancel + Save only; Info alert explains no-probe carve-out | Not Run
TC-U-005 | UX/Wizard | P3 | Cancel discards changes | — | Open Add wizard; fill fields; click Cancel | Navigates back; no partial config persisted | Not Run
TC-U-006 | UX/Wizard | P3 | Browser tab close discards changes | — | Open Add wizard; fill; close tab; reopen | Fields are default (no localStorage — ADR-0015 Rule 8) | Not Run
TC-E-001 | Edge | P2 | Empty configuration / first-run state | Empty gateway.json | Delete config; restart; attempt to add first source | Studio loads; empty state surfaces; wizard works | Not Run
TC-E-002 | Edge | P3 | Maximum tag count | — | Configure source with 200+ tags; Apply; subscribe | All visible; Studio responsive; perf metrics within reasonable bounds | Not Run
TC-E-003 | Edge | P3 | Boundary values for port | — | Try port=1, 65535 (valid); port=0, 65536 (invalid) | 1 and 65535 accepted; 0 and 65536 rejected with clear error | Not Run
TC-E-004 | Edge | P3 | Long instance ids | — | Try 256-char id; try id with non-regex chars | Length/regex constraints enforced; clear error messages | Not Run
TC-E-005 | Edge | P3 | Tag name with special characters | — | Try valid (slashes, dots); try invalid (spaces, ?) | Valid charset documented + enforced; invalid rejected | Not Run
TC-E-006 | Edge | P3 | Reload Studio while config apply in progress | — | Initiate apply; F5 within 1-2s | Studio reloads to consistent state (pre or post apply, never mid) | Not Run